This specification section uses numbered level paragraph styles, which were not included in versions of Word prior to Word 97.  In the interests of clarity, all paragraph styles are formatted flush left.

Specification editor’s choice items are shown in [square brackets]. (Optional) paragraphs denote items available at additional cost.

Use TAB to go DOWN one paragraph number level; SHIFT+TAB to go one paragraph number level UP.

SECTION 105113 – welded METAL Lockers (Tactical readiness Locker) configuration for North Carolina National Guard

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

SUMMARY

This Section includes the following:

Tactical Readiness Lockers Configuration

Related Work, Not Furnished:

Finish floor covering material and installation.

Finish floor covering materials and installation.

Related Sections:

[Sections in Division 9 – Finishes, relating to finish floor and base materials]

Allowances:

Alternates:

REFERENCES

American National Standards Institute (ANSI) Standards:

Applicable standards for fasteners used for assembly.

American Society for Testing and Materials (ASTM) Standards:

Applicable standards for steel sheet materials used for fabrication

Applicable standards for the testing of electrostatically applied Powder Coat Paint

American Institute Of Steel Construction (AISC) Standards:

Applicable standards for steel materials used for fabrication.

DESCRIPTION

General: Welded Metal Lockers only with end-user reconfigurable interior. Specialized lances to provide the flexibility of on-site, end-user reconfiguration/addition of internal components anytime, anywhere, now or in the future.

Finishes:

Fabricated Metal Components and Assemblies: All components to be painted with an electro-statically applied Powder Coat paint that can meet or exceed test requirements set out by ASTM standard D3451-06 Standard Guide for Testing Coating Powders and Powder Coatings.

Sizes can be described in paragraph below or in a SCHEDULE attached as the last page of the section.

Sizes:

Tactical Readiness Lockers: nominal height of [74] inches or [1879.6] millimeters, nominal width of [24] inches or [609.6] millimeters, and nominal depth of [32] inches or [812.8] millimeters.

Tactical Readiness Locker shall be configured with a [4] inch or [101.6] millimeters structural base permanently welded to the bottom of the locker frame; thus giving the Tactical Readiness Locker an overall height of [78] inches or [1981.2] millimeters.

PERFORMANCE REQUIREMENTS

Design Requirements:

Limit overall width not to exceed specified nominal width; locker width designed for zero growth.

Seismic Performance: Provide Welded Metal Lockers capable of withstanding the effects of earthquake movement when required by applicable building codes.

SUBMITTALS

Product Data: Submit manufacturer's product literature and installation instructions for each type of welded metal locker required.  Include data substantiating that products to be furnished comply with requirements of the contract documents.

Shop Drawings: Show fabrication, assembly, and installation details, including descriptions of procedures and diagrams.  Show complete locker installation layout, including quantities, locations and types of accessory units required. Include notations and descriptions of all installation items and components.

Show installation details at non-standard conditions, if any.

Provide layout, dimensions, and identification of each unit, corresponding to sequence of installation procedures.

Provide installation schedule and procedures to ensure proper installation.

Samples: Provide minimum [3] inches or [76] millimeters square example of each color and texture on actual substrate for each component to remain exposed after installation.

Selection Samples: For initial selection of colors and textures, submit manufacturer's color charts, consisting of actual product pieces, showing full range of colors and textures available.

Warranty:  Submit draft copy of proposed warranty for review by the [Architect] [Architect/Engineer] [Engineer] [Designer].

Maintenance Data: Provide written documentation of the manufacturer’s statement, claiming the maintenance free nature of the product.

Reference List: Provide a list of recently installed welded metal lockers to be visited by owner, architect, and contractor. Intent of list is to aid in verifying the suitability of manufacturer's products and comparison with materials and product specified in this section.  Include contact name, address, and phone numbers.

QUALITY ASSURANCE

Manufacturer Qualifications: Engage an experienced manufacturer who is ISO 9001:2008 certified for the design, production, installation and service of welded metal lockers.  Furnish certification attesting ISO 9001:2008 quality system registration.

Installer Qualifications: Engage an experienced installer who is the manufacturer's authorized representative for the specified products for installing welded metal lockers.

Minimum Qualifications: 1-year experience installing welded metal lockers of comparable size and complexity to specified project requirements.

DELIVERY, STORAGE AND HANDLING

Follow manufacturer’s instructions and recommendations for delivery, storage and handling requirements.

PROJECT CONDITIONS

Field Measurements: Verify quantities of welded metal locker units before fabrication. Indicate verified measurements on shop drawings.  Coordinate fabrication and delivery to ensure no delay in progress of the work.

Established Dimensions: Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabricating welded metal lockers units without field measurements.  Coordinate construction to ensure actual dimensions correspond to established dimensions.

Sequencing and Scheduling paragraph can be omitted unless project conditions dictate that and incremental installation sequence is warranted or necessary.

[SEQUENCING AND SCHEDULING]

Sequence welded metal lockers [with other work] to minimize possibility of damage and soiling, during remainder of construction period.

Schedule installation of specified welded metal lockers after finishing operations, including painting, have been completed.

Provide components, which must be built in at a time, which causes no delays in the general progress of the work.

Pre-installation Conference: Schedule and conduct conference on project site to review           methods and procedures for installing welded Metal Lockers including, but not limited to,           the following:

Recommended attendees include:

Owner's Representative.

Prime Contractor or representative.

The [Architect] [Architect/Engineer] [Engineer/Architect] [Engineer] [Designer].

Manufacturer's representative.

Subcontractors or installers whose work may affect, or be affected by, the work of this section.

Warranty

Provide a written warranty, executed by Contractor, Installer, and Manufacturer, agreeing to repair or replace units, which fail in materials or workmanship within the established warranty period.  This warranty shall be in addition to, and not a limitation of, other rights the Owner may have under General Condition’s provisions of the Contract Documents.

Limited Lifetime Warranty: Subject to the terms in the written warranty, warrant the original purchaser exclusively that the locker frames manufactured by it will be free from defects in materials and workmanship for the lifetime of the locker.

[MAINTENANCE]

[Provide manufacturer’s extended maintenance agreement for [____] [years] [months], commencing on the day the standard maintenance warranty ends.]

A separate maintenance agreement paragraph may not be required since accessory items have few parts requiring long-term or continuing maintenance.

PRODUCTS

MANUFACTURERS

General: TRLTM Storage System -Tactical Readiness Lockers based upon welded metal lockers manufactured by Spacesaver Intermountain, 249 South 400 East, Salt Lake City UT 84111  801-363-5882.

BASIC MATERIALS

General: Provide materials and quality of workmanship, which meets or exceeds established industry standards for products specified. Use furniture grade sheet metal and fasteners for component fabrication unless indicated otherwise.  Material thicknesses/gauges are manufacturer’s option unless indicated otherwise.

Locker TYPES

[Tactical Readiness Lockers. Flat top. Provide standard Tactical Readiness gear storage lockers by Spacesaver Corporation.]

MANUFACTURED COMPONENTS

Welded Frame:

The welded frame must consist of top, bottom, back, and sides constructed of a minimum of 18-gauge or [1.214] millimeters steel. All frame components shall be joined using resistance welding for lockers.  Riveting of structural members will not be permitted.

Horizontal front flanges will be a minimum of [2] inches or [50.8] millimeters. Vertical front flanges will be a minimum of [1] inch or [25.4] millimeters. Horizontal and vertical flanges will overlap and be secured with a minimum two (2) resistance welds per corner.

Corner gussets shall be MIG and spot welded in each of the four front corners of the locker for increased stiffness and rigidity.

Provide side panel lances evenly spaced on [3] inch or [76.2] millimeter centers.  Lances to provide the flexibility of on-site, end-user reconfiguration/addition of internal components anytime, anywhere, now or in the future.

Locker shall be prepared with mounting holes for ganging lockers back-to-back or side-by-side

All locker sizes and types to be specified by architect.

        - Width:

Tactical Readiness Locker: [24] inches or [609.6] millimeters

        - Height:

Tactical Readiness Locker: [74] inches or [1879.6] millimeters

Locker Base: [4] inches or [101.6] millimeters

        - Depth:

All lockers [32] inches or [812.8] millimeters.

Locker base shall include (4) 3/8”-16 UNC threaded weld nuts and corresponding leveling feet.

Single-Piece Welded Doors (Single and Double Door Models):

Shall be formed from two (2) pieces of minimum 18-gauge [1.2] millimeter cold rolled steel box formed and welded together using modern GMAW techniques.  Single-piece door with inner and outer door panels shall have a combined steel thickness of no less than [0.096] inches or [2.4] millimeters thick.  Welded door design with inner panel optimizes structural integrity of locker door system over and above any single frame door design.

Exterior door panel shall be constructed with formed flanges and return flanges to add stiffness.

Internal door panel shall be constructed with formed flanges for added stiffness.

All inner door panel heights shall be minimum 70% of external door height.

Single-piece welded door frame shall consist of internal door panel nested inside exterior door panel and welded per the following requirements:

        - Top / bottom.  Exterior and Interior panels to be welded in a minimum of three (3) places with weld spacing not to exceed [6] inches or [152.4] millimeters between adjacent welds and [1] inch or [25.4] millimeters from any corner.

        - Sides.  Exterior and interior panels to be welded with spacing not to exceed [12] inches or [304.8] millimeters between adjacent welds and [1] inch or [25.4] millimeters from any corner.

All doors shall have neoprene silencers on each door for noise reduction

Diamond Perforated Pattern:

        - Door design shall be available in diamond perforated pattern

        - Pattern is defined as [0.875] by [0.875] inch or [22.2] by [22.2] millimeter diamond perforations on [1.768] inch or [44.9] millimeter centers

Door torsional deflection shall not exceed [0.1875] inch or [4.76] millimeter with a [20] lb or [9.071] kilogram point load.  (Test data to be provided by manufacturer upon request)

Hinge:

        - Provide 16-gauge full length hinge for increased strength and security of locker system.

        - Hinges to be welded to door frame with spot welds not to exceed [6] inch or [152.4] millimeter separation.

Door assembly to be riveted to door frame on factory pre-established hole pattern.

Locking Mechanism.

        - Provide padlock hasp locking functionality (locking option shall have protective stainless steel cover plate for durability and scratch resistance):

Interior/Accessory components (Architect/Owner to specify):

All interior components must be constructed of minimum 18-gauge or [1.214] millimeter steel (unless otherwise clarified in specification).

For added security, internal component can be secured utilizing blind rivets, threaded fasteners, or bending specially designed tab.

All interior components available at time of order and as post-installation upgrades in the future.

Shelves

        - Heavy Duty – each Tactical Readiness Locker shall include [2]

Size specified by locker width

Performance: Uniform load rating [300] lbs or [136.08] kilograms

        - All performance test data shall be provided by manufacturer upon request.

Hooks

        - Single Hooks – quantity of [2]; single hook shall be installed on both the inside right and inside left side panel of the locker as specified by the architect or customer.

Locker Tag Numbers

Shall provide locker numbers on each locker per customer requirement

Card Holder

Each Tactical Readiness Locker shall have a metal [3] inch or [76.2] millimeter by [5] inch or [127.0] millimeter Card Holder installed on the front of each locker; as specified by the architect or customer.

ACCESSORIES:

[Individual Welded Base: Provide manufacturer’s standard.]

FABRICATION

General: Coordinate fabrication and delivery to ensure no delay in progress of the work.

FINISHES

Colors:  [Selected from manufacturer’s standard available colors.] [Provide in custom colors as selected by [Architect] [Architect/Engineer] [Engineer.]

Paint Finish: Textured (Standard) – Provide factory applied electrostatic powder coat paint.  Meet or exceed specifications of the American Society for Testing and Materials (ASTM) Standards:

EXECUTION

EXAMINATION

Examine Lockers scheduled to receive accessories [with Installer present] for compliance with requirements for installation tolerances and other conditions affecting performance of specified accessory items.

Proceed with accessory installation only after unsatisfactory conditions have been corrected.

INSTALLATION

General: Follow manufacturer’s written instructions for installation of each type of accessory item specified.

FIELD QUALITY CONTROL

Verify accessory unit alignment and plumb after installation. Correct if required, following manufacturer’s instructions.

Remove components that are chipped, scratched, or otherwise damaged and which do not match adjoining work.  Replace with new matching units, installed as specified and in manner to eliminate evidence of replacement.

ADJUSTING

Adjust all accessories to provide smoothly operating, visually acceptable installation.

CLEANING

Immediately upon completion of installation, clean components and surfaces.  Remove surplus materials, rubbish and debris, resulting from installation, upon completion of work and leave areas of installation in neat, clean condition.

DEMONSTRATION/TRAINING

Schedule and conduct demonstration of installed accessory items and features with Owner's personnel.

Schedule and conduct maintenance training with Owner's maintenance personnel. Training session should include lecture and demonstration of all maintenance and repair procedures that end-user personnel would normally perform.

PROTECTION

Protect system against damage during remainder of construction period.  Advise owner of additional protection needed to ensure that system will be without damage or deterioration at time of substantial completion.

You could use pre-printed schedules and simply add them as last page.  Add paragraph  3.8 SCHEDULES and add subparagraph: “A. Equipment Schedules, See next page.” or similar wording.

END OF SECTION