DIVISION 10 - SPECIALTIES


This specification section uses numbered level paragraph styles, which were not included in versions of Word prior to Word 97.  In the interests of clarity, all paragraph styles are formatted flush left.

Specification editor’s choice items are shown in [square brackets]. (Optional) paragraphs denote items available at additional cost.

Use TAB to go DOWN one paragraph number level; SHIFT+TAB to go one paragraph number level UP.

SECTION 105613 – METAL STORAGE SHELVING (Four-Post Shelving and Accessories)
PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Four-post type metal shelving.
B. Related Work, Not Furnished:

Finish floor covering materials and installation.

C. Related Sections:

[Sections in Division 9 – Finishes, relating to finish floor and base materials.]

D. Allowances:

E. Alternates:

1.3 REFERENCES    

A. American National Standards Institute (ANSI) Standards:

Applicable standards for fasteners used for assembly.

B. American Society for Testing and Materials (ASTM) Standards:

Applicable standards for steel sheet materials used for fabrication. 

C. American Institute Of Steel Construction (AISC) Standards:

Applicable standards for steel materials used for fabrication. 

1.4 DESCRIPTION

A. General: Four-Post Type Metal Shelving.

B. Finishes: 

Fabricated Metal Components and Assemblies: All components to be painted with an electrostatically applied Powder Coat paint. 

Fabricated Laminate Components and Assemblies: Manufacturer’s standard low-pressure or high-pressure laminate finishes. 
Fabricated Non-Porous Solid Surface Components and Assemblies: Manufacturer’s standard. 

Fabricated Acrylic Components and Assemblies: Manufacturer’s standard.

Sizes can be described in paragraph below or in a SCHEDULE attached as the last page of the section.

C. Sizes:

Available in heights of [5.75] inches to [143.75] inches ([146MM] to [3651MM]) as noted on drawings (variable in 1.5 inch [38.1MM] increments as required).

Available in nominal widths of [12] inches to [72 inches] ([305MM] to [1829MM] as noted on drawings (variable in 1 inch [25.4MM] increments as required).

Available in nominal single-faced or double-faced depths of [9] inches to [36] inches ([229MM] to [914MM]) as noted on drawings (variable in 1 inch [25.4MM] increments as required).

1.5 PERFORMANCE REQUIREMENTS

A. Design Requirements: 

Limit overall width to [____] inches [____] MM. 

Limit overall depth to [____] inches [____] MM. 

Limit overall height to [____] inches [____] MM.

B. [Seismic Performance: Provide four-post metal shelving capable of withstanding the effects of earthquake movement when required by applicable building codes.]

1.6 SUBMITTALS

A. Product Data: Submit manufacturer's product literature and installation instructions for each type of four-post shelving required.  Include data substantiating that products to be furnished comply with requirements of the contract documents.

B. Shop Drawings: Show fabrication, assembly, and installation details including descriptions of procedures and diagrams.  Show complete extent of four-post shelving installation layout including quantities, locations and types of accessory units required. Include notations and descriptions of all installation items and components.

Show installation details at non-standard conditions, if any.

Provide layout, dimensions, and identification of each unit corresponding to sequence of installation and erection procedures.

Provide installation schedule and complete erection procedures to ensure proper installation.

C. Samples: Provide minimum 3 inch (76MM) square example of each color and texture on actual substrate for each component to remain exposed after installation.

D. Selection Samples: For initial selection of colors and textures, submit manufacturer's color charts consisting of actual product pieces, showing full range of colors and textures available.

E. Warranty:  Submit draft copy of proposed warranty for review by the [Architect] [Architect/Engineer] [Engineer] [Designer].

F. Maintenance Data: Provide in form suitable for inclusion in maintenance manuals for four-post shelving. Data shall include operating and maintenance instructions, parts inventory listing, purchase source listing, emergency instructions, and similar information.

Submit manufacturer's instructions for proper maintenance materials and procedures.

Submit manufacturer's printed instructions for maintenance of installed work, including methods and frequency recommended for maintaining optimum condition under anticipated use conditions. Include precautions against using materials and methods, which may be detrimental to finishes and performance.

G. [Reference List: Provide a list of recently installed four-post shelving to be visited by owner, architect, and contractor. Intent of list is to aid in verifying the suitability of manufacturer's products and comparison with materials and product specified in this section.]

H. Sustainability Commitments:

1. To encourage the use of building products that are working to minimize their environmental and health impacts, provide the following information:

a. Environmental Product Declarations (EPD)

b. Material Ingredients Documentation demonstrating the chemical inventory of the product to at least 0.1% (1,000ppm) (HPD) 

2. To ensure product manufacturer is taking proactive measures to minimize their environmental footprint, comply with current and relevant legal and regulatory requirements, and striving to continually achieve environmental objectives, furnish:

a. Certification attesting ISO 14001:2015 Environmental Management Systems registration.
1.7 QUALITY ASSURANCE

A. Manufacturer Qualifications: Engage an experienced manufacturer who is ISO 9001 certified for the design, production, installation and service of four-post shelving.  Furnish certification attesting ISO 9001 quality system registration.

B. Installer Qualifications: Engage an experienced installer who is a manufacturer's authorized representative for the specified products for installing four-post shelving.

Minimum Qualifications: 1-year experience installing four-post shelving of comparable size and complexity to specified project requirements.

1.8 DELIVERY, STORAGE AND HANDLING

A. Follow manufacturer’s instructions and recommendations for delivery, storage and handling requirements.

1.9 PROJECT CONDITIONS

A. Field Measurements: Verify quantities of four-post shelving units before fabrication. Indicate verified measurements on Shop Drawings.  Coordinate fabrication and delivery to ensure no delay in progress of the Work.

B. Established Dimensions: Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabricating four-post shelving units without field measurements.  Coordinate construction to ensure actual dimensions correspond to established dimensions.

Sequencing and Scheduling paragraph can be omitted unless project conditions dictate that and incremental installation sequence is warranted or necessary.

1.10 [SEQUENCING AND SCHEDULING]
A. Sequence four-post shelving units [with other work] to minimize possibility of damage and soiling during remainder of construction period.

B. Schedule installation of specified four-post shelving after finishing operations; including painting have been completed. 

C. Provide components, which must be built in at a time, which causes no delays general progress of the Work.

D. Pre-installation Conference: Schedule and conduct conference on project site to review           methods and procedures for installing four-post shelving units including, but not limited to,           the following:

Recommended attendees include:

1. Owner's Representative.

2. Prime Contractor or representative.

3. The [Architect] [Architect/Engineer] [Engineer/Architect] [Engineer] [Designer].

4. Manufacturer's representative.

5. Subcontractors or installers whose work may affect, or be affected by, the work of this section.]

1.11 Warranty

A. Provide a written warranty, executed by Contractor, Installer, and Manufacturer, agreeing to repair or replace units, which fail in materials or workmanship within the established warranty period.  This warranty shall be in addition to, and not a limitation of, other rights the Owner may have under General Conditions provisions of the Contract Documents.

B. Limited Lifetime Warranty for Shelving: Subject to the terms in the written warranty, warrant the original purchaser exclusively that the shelving manufactured by it will be free from defects in materials and workmanship for the lifetime of the shelving.

A separate maintenance agreement paragraph may not be required since accessory items have few parts requiring long-term or continuing maintenance.

1.12 [MAINTENANCE]

A. [Provide manufacturer’s extended maintenance agreement for [____] [years] [months], commencing on the day the standard maintenance warranty ends.]

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

A. General: Products are based upon four-post shelving manufactured by Spacesaver Corporation and distributed by Spacesaver Intermountain, LLC. 14761 South Future Way Suite 101, Draper UT 84020. Phone: 844-800-6014
2.2 BASIC MATERIALS

A. General: Provide materials and quality of workmanship, which meets or exceeds established industry standards for products specified. Use furniture grade sheet metal, wood panels, plastic laminate and fasteners for component fabrication unless indicated otherwise.  Material thicknesses/gauges are manufacturer’s option unless indicated otherwise.

2.3 MANUFACTURED COMPONENTS

A. Design:
1. Wedge-lock type consisting of uprights, shelves, and shelf supports, designed to be assembled without fasteners or clips. Shelves shall not have any holes on exposed surfaces. Front and back flanges shall be flush with outside faces of posts.  Design shall permit individual shelf adjustment and/or removal anywhere along the entire height of uprights.

B. Materials and Workmanship:

1. Fabricate units from Class 1, cold-rolled steel sheet with all bends sharp and true and no exposed “knife” edges.

a. All units shall be free of burrs, sharp edges and projecting hardware with smooth, non-abrasive surfaces and edges.

b. After fabrication, shelving shall exhibit no dents, “oil canning”, buckling or other surface irregularities.

C. Uprights: 

1. Formed from steel sheet to a hollow “tee” shape for intermediate supports and formed angles for end supports. Uprights shall have keyhole slots on inner wall only. Provide with sheet steel panels full height and depth of end uprights. Provide intermediate “tee” uprights between adjacent units

D. Shelves: 

1. Form from sheet steel with flanges on all sides and return hem on front and back flanges. Ends shall be formed to clear inside of upright offset panels. Shelves shall be independently adjustable.  Provide all shelves with slots for file dividers.

E. Canopy Tops: 

1. Same construction as shelf units.

F. Shelf Supports: 

1. Form from heavy gauge steel sheet with four solid steel shoulder rivets, two per ear, that interlock with inner wall of uprights.

G. Nominal Shelf Dimensions:  

1. Width: 12 inches (305MM) to 72 inches (1829MM) sections used to meet project requirements.
2. Shelf Edge Vertical Profile: 3/4 inch (19MM) maximum.

3. Vertical Adjustment Increment: 1-1/2 inches (38MM).

4. Width Of Intermediate Uprights: 2 inches (51MM).

5. Clearance Between Uprights: Nominal shelf section width minus 2 inches (51MM).

6. Levelness of Completed Shelf Units: Maximum 1/8 inch (3.2MM) between bottom shelf and canopy top, measured along the edge of any upright in any direction.  

7. Number of Vertical Shelf Spaces: As indicated on the drawings [_____].

8. Vertical Shelf-To-Shelf Spacing: As indicated on the drawings [_____].

H. Load Carrying Capabilities: 

1. Provide shelf units capable of supporting 40 pounds per lineal foot (18kg/305MM) with maximum deflection of L/140. Shelves shall exhibit no permanent deflection under fully loaded conditions.

I. Accessories: 

1. [(Optional) File Dividers:  Provide [____] file dividers per shelf. Provide manufacturer’s standard.]]
2. [(Optional) Center Stops: Provide manufacturer’s standard.]

3. [(Optional) Reference Shelf: Provide manufacturer’s standard.]

4. [(Optional) Back Stops: Provide manufacturer’s standard.]

5. [(Optional) Laminate End Panel: Provide manufacturer’s standard.]

6. [(Optional) End Panel Mounting Brackets: Provide manufacturer’s standard.]

7. [(Optional) Backs: Provide manufacturer’s standard.]

8. [(Optional) Bin Dividers: Provide manufacturer’s standard.]

9. [(Optional) Bin Fronts:  Provide manufacturer’s standard.]

10. [(Optional) Nantucket Drawers:

a. Drawers shall be mounted to closed type 4-post uprights with mounting brackets and be adjustable on [1.5] inch increments vertically.

b. Compatible with closed 4-Post uprights only.

c. Drawer sizes:

1) HEIGHT:  Available in nominal heights of [3], [4.5], and [6] inches

2) WIDTH:  Available in nominal widths of [24] inches to [60] inches (variable in 1-inch increments).

3) DEPTH:  Available in single-face or back-to-back closed 4-Post uprights in depths of [18] inches to [36] inches (variable in 1-inch increments).
d. Drawer construction shall be a minimum 16-gauge cold rolled steel for the drawer body 16-gauge cold rolled steel for the drawer front and reinforcement channels (as required).
e. Drawer front shall include (1) nickel-plated label holder that allows insertion of a 1-inch-high x 2.75-inch-wide note card.  Label holder to capture the card on three sides with top access.  Label holder to be centered widthwise and riveted to the drawer front.
f. Drawer front shall include (2) nickel-plated handles of 0.5-inch nominal height and  2 inch minimum width.  (1) handle shall be located to the left of the label holder and (1) handle shall be located to the right of the label holder widthwise.  Handles shall be riveted to the drawer front.
g. Drawers shall have the ability to support a uniformly distributed load of 100 pounds without impeding the smooth operation of the drawer.

h. Drawer slides shall provide full-extension and soft-close functionality and consist of ball bearing drawer slides with built-in detents.

i. Drawer bodies shall be painted with non-off gassing powder coat paint.
j. (Optional) Nantucket Rolled Textile Drawers

1) Only available in nominal height of [4.5] inches, nominal depths from [18] inches to [36] inches, and with (3) [1.75] inch nominal diameter Rolled Textile Rods per Drawer.  Individual rods are available for purchase.  All other Nantucket Drawer specifications apply.]
11. [(Optional) Nantucket CIC Panel Pair Assemblies (Single-Track and Multi-Track Panel Pair Assemblies)
a. Each track panel assembly shall be constructed of individual 16-gauge cold rolled steel track channel(s) and include stops for tray safety stop feature engagement.
b. Steel track panel assembly shall mount within closed 4-Post uprights and be adjustable vertically on [1.5] inch increments.
c. Steel track channel(s) shall be painted with permaslide white hybrid powder coat paint.  Paint must have a PTFE additive to minimize friction and wear between contact surfaces.
d. Track panel assembly shall be painted with non-off gassing powder coat paint.
e. Track panel assembly shall be designed to provide for the smooth, vibration-free operation of each tray without excessive wear of the finish on the track channel.

f. Track panel assembly shall allow for easy removal and insertion of trays without the use of tools.
g. CIC Panel Pair Sizes:

1) HEIGHT:  CIC Panel Pairs are available in the following nominal track heights:
a) [2] inches to support assembly of (1) 2-inch-high tray to closed 4-Post.  Note: Mounting bracket consumes [3] inches of vertical space.
b) [6] inches to support assembly of (3) 2-inch-high trays to closed 4-Post
c) [12] inches to support assembly of (6) 2-inch-high trays to closed 4-Post

d) Note:  Trays 4 inches in height require a [2] inch track with [4] inches of vertical clearance.
2) WIDTH:  CIC Panel Pairs support nominal tray widths from [24] inches to [60] inches (variable in 1-inch increments)
3) DEPTH:  CIC Panel Pairs are available in the following nominal closed 4-Post depths:

a) [18] inches to [36] inches variable in 1 inch increments for Single-Face or Back-to-Back Closed 4-Post Configurations

b) [38] inches to [56] inches variable in 2 inch [50.8MM] increments for Single-Face Double-Deep Closed 4-Post Configurations]
12. [(Optional) Nantucket Trays
a. Nantucket Trays shall slide within a mating CIC Panel Track for assembly to closed 4-Post Uprights on [2] inch increments.
b. Compatible with closed type 4-Post uprights only.
c. Tray Sizes:

1) HEIGHT:  Available in nominal heights of [2] inches and [4] inches
2) WIDTH:  Available in nominal widths from [24] inches to [60] inches (variable in 1-inch increments)
3) DEPTH:

a) Available in single-face or back-to-back, closed 4-Post uprights in depths of [18] inches to [36] inches (variable in 1-inch increments).

b) Available in single face double-deep, closed 4-Post uprights in nominal depths from [38] inches to [56] inches (variable in 2-inch increments)

d. Tray construction shall be a minimum 16-gauge cold rolled steel for the tray body, 16-gauge cold rolled steel for the tray tracks, and 16-gauge cold rolled steel for the tray front and reinforcement channels (as required).
e. Trays shall include (2) interference type safety stop levers per tray (one per side).

f. Tray front shall include (1) nickel-plated label holder that allows insertion of a 1-inch-high x 2.75-inch-wide note card.  Label holder to capture the card on three sides with top access.  Label holder to be centered widthwise and riveted to the drawer front.

g. Tray front shall include (2) nickel-plated handles of 0.5-inch nominal height and  2 inch minimum width.  (1) handle shall be located to the left of the label holder and (1) handle shall be located to the right of the label holder widthwise.  Handles shall be riveted to the tray front.

h. Trays shall have the ability to support a uniformly distributed load of 100 pounds without impeding the smooth operation of the tray.
i. User shall have the ability to install or remove trays with no restrictions.

j. Tray channels shall be painted with permaslide white hybrid powder coat paint.  Paint must have a PTFE additive to minimize friction and wear between contact surfaces.

k. Tray bodies shall be painted with non-off gassing powder coat paint.
l. (Optional) Nantucket Rolled Textile Trays
1) Only available in nominal height of [4] inches, nominal depths from [18] inches to [36] inches, and with (3) [1.75] inch nominal diameter (3) Rolled Textile Rods per Tray.  Individual rods are available for purchase.  All other Nantucket tray specifications apply.]
13. [(Optional) Nantucket Accessories
Closed Type 4-Post System Requirements to house Nantucket Drawers and Trays:
a. (1) Back Panel or Back Panel Kit per Closed-Type 4-Post upright section
b. (1) Back Holder per Closed-Type 4-Post upright section
c. Shelf supports and reinforcements are required at the top and bottom of a closed 4-post system housing Nantucket Accessories.  Additional shelf supports are required every [49.5] inches of vertical space at a minimum.

d. Static Closed 4-Post Systems shall be anchored to the floor.  Standard 4-Post rules apply for Closed 4-Post systems on High-Density Mobile]
14. [(Optional) Flexible Shelving Caster Bases

a. Caster Bases shall be available in two style options:  Exposed Locking Caster Bases and Concealed Caster Bases
b. Caster Base Sizes:

1) WIDTH:  Available in nominal widths from [36] inches to [72] inches (variable in 1-inch increments)
2) DEPTH:  Available in nominal depths from [20] inches to [36] inches (variable in 1-inch increments)
3) SHELVING HEIGHT:  Caster bases support nominal 4-Post shelving heights from [5-3/4] inches to [71-3/4] inches (variable in 1.5-inch increments).  Overall height from floor to top of 4-Post shelving shall not exceed a 3:1 height-to-depth ratio for safety purposes.  Exposed locking caster base adds [7.91] inches to shelving height and Concealed caster base adds [4.52] inches to shelving height.
c. Flexible Shelving Caster Bases for 4-Post shelving shall be constructed of:

1) (2) cross-supports (C-Channel weldments) per caster base, or (3) per 72”W caster base.  Cross supports shall be formed of 14 ga. (1.9 mm) hot rolled steel.

a) For Exposed Locking Caster Bases only: (2) caster mounting plates shall be bolted in (4) locations to each cross support.  Caster mounting plates shall be formed of 11 ga. (2.9 mm) hot rolled steel.

b) For Concealed Caster Bases only: (2) caster mounting supports shall be welded to each cross support and formed of 14 ga. (1.9 mm) hot rolled steel.

2) (2) supports that form the front and back profiles of each caster base, with a 0.25 in. (6.35 mm) thick hem feature for structural rigidity, shall be formed of 12 ga. (2.6 mm) hot rolled steel.

3) (2) welded end-panels that form the side profiles of each caster base shall be formed of 14 ga. (1.9 mm) hot rolled steel.

4) (1) spacer plate shall be welded to each cross-support and formed of 12 ga. (2.6 mm) hot rolled steel.

d. Caster bases and attached shelving must pass manufacturer stability testing per BIFMA X5.9-2012 Section 9 standards.
e. CASTER BASE LOAD CAPACITY

1) Exposed Locking Caster Bases shall be designed and manufactured to carry uniformly distributed loads of:

a) [880] lbs. for caster bases measuring between [36 – 71] inches in width and be constructed with [4] double-wheel, all-swivel, total locking casters per base.  Caster wheels shall be [100] mm in diameter and constructed of Polyurethane wheel-tread material of Shore A 92 hardness.
b) [1,320] lbs. for caster bases measuring [72] inches in width and be constructed with [6] double-wheel, total locking casters per base.  Caster wheels shall be [100] mm in diameter and constructed of Polyurethane wheel-tread material of Shore A 92 hardness.
2) Concealed Caster Bases shall be designed and manufactured to carry uniformly distributed loads of:
a) [1,080] lbs. for caster bases measuring between [36 – 71] inches in width and be constructed with [4] single-wheel, non-locking casters per base. Caster wheels shall be [3] inches in diameter and constructed of rubber wheel-tread material of hardness durometer 75D.
b) [1,620] lbs. for caster bases measuring [72] inches in width and be constructed with [6] single-wheel, non-locking casters per base. Caster wheels shall be [3] inches in diameter and constructed of rubber wheel-tread material of hardness durometer 75D.]
2.4 FABRICATION

A. General: Coordinate fabrication and delivery to ensure no delay in progress of the Work.

2.5 FINISHES

A. Colors: [Selected from manufacturer’s standard available colors.] [Provide in custom colors as selected by [Architect] [Architect/Engineer] [Engineer.]

B. Paint Finish: Provide factory applied electrostatic powder coat paint.  Meet or exceed specifications of the American Library Association.

C. Low-Pressure Laminate Finish: [Selected from manufacturer’s standard available colors and patterns.] [Provide in custom colors as selected by [Architect] [Architect/Engineer] [Engineer.]

D. High-Pressure Laminate Finish: [Selected from manufacturer’s standard available colors and patterns.] [Provide in custom colors as selected by [Architect] [Architect/Engineer] [Engineer.]

E. Acrylic Finish: [Selected from manufacturer’s standard available colors and patterns.] [Provide in custom colors as selected by [Architect] [Architect/Engineer] [Engineer.]

Describe optional (additional cost) finish options below, or delete paragraph.

F. [(Optional)  (Describe finish materials)]

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine shelving units scheduled to receive accessories [with Installer present] for compliance with requirements for installation tolerances and other conditions affecting performance of specified accessory items.

B. Verify that intended installation locations of sorter unit units will not interfere with or block established required exit paths or similar means of egress once units are installed.

C. Proceed with accessory installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. General: Follow manufacturer’s written instructions for installation of each type of accessory item specified.

3.3 FIELD QUALITY CONTROL

A. Verify accessory unit alignment and plumb after installation. Correct if required following manufacturer’s instructions.

B. Remove components that are chipped, scratched, or otherwise damaged and which do not match adjoining work.  Replace with new matching units, installed as specified and in manner to eliminate evidence of replacement.

3.4 ADJUSTING

A. Adjust all accessories to provide smoothly operating, visually acceptable installation.

3.5 CLEANING

A. Immediately upon completion of installation, clean components and surfaces.  Remove surplus materials, rubbish and debris resulting from installation upon completion of work and leave areas of installation in neat, clean condition.

3.6 DEMONSTRATION/TRAINING

A. Schedule and conduct demonstration of installed accessory items and features with Owner's personnel.

B. Schedule and conduct maintenance training with Owner's maintenance personnel. Training session should include lecture and demonstration of all maintenance and repair procedures that end user personnel would normally perform.

3.7 PROTECTION

A. Protect system against damage during remainder of construction period.  Advise Owner of additional protection needed to ensure that system will be without damage or deterioration at time of substantial completion.

You could use pre-printed schedules and simply add them as last page.  Add paragraph  3.8 SCHEDULES and add subparagraph: “A. Equipment Schedules, See next page.” or similar wording.

END OF SECTION

CSI105613_FourPost
105613
(2024 Spacesaver Corp

